## Products
Part Number | Part Name | Part Indicator | Description | Portfolio | Product Brand | Product Series | Product Type | Government Requirements | Status
CO11192 |  | Base Product | CommScope CAT 6A, F/UTP, Outdoor Rated Patch Cord | CommScope® |  | CO | Twisted pair patch cord
CO15542 |  | Base Product | CommScope Cat 6, UTP, Outdoor Patch Cord | CommScope® |  | CO | Twisted pair patch cord
CO15582 |  | Base Product | CommScope Cat 6A, UTP, Outdoor Patch Cord | CommScope® |  | CO | Twisted pair patch cord
UGGRXRXYR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to MPO16 (Pinned), 2 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 2-pair
UGGRXUCYR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to Unconnectorized, 2 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 2-pair
UGGRXRXZR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to MPO16 (Pinned) , 4 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 4-pair
UGGRXUCZR |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO16 (Pinned) to Unconnectorized , 4 Pair 16AWG Constellation Trunk Cable Assembly, 16-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 4-pair
UGGQXUCY8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to Unconnectorized , 2 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 2-pair
UGGQXQXZ8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to MPO8 (Pinned) , 4 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 4-pair
760255004 | P-016-HY-8G1-F30YL/4X16AWG/CTX | Variant | Constellation® Plenum Hybrid Fault Managed Power Cable, 16 Fiber Loose Tube, 4 Conductor 16 AWG Twisted Pairs | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
760261709 | P-016-HY-8G1-F30YL/4X16AWG/CTX | Variant | Constellation® I/O Riser Hybrid Fault Managed Power Cable, 16 Fiber Loose Tube, 4 Conductor 16 AWG Twisted Pairs | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
760241115 | imV-CNTRL-X-CK-10 | Variant | imVision Controller X Jumper Cable Kit, 10 pack | SYSTIMAX® | SYSTIMAX 360™ |  | Network controller accessory
PFP-PX-S1 |  | Variant | Power Express Class 2 shelf and starter kit, accomodates up to 4 modules of 8 SELV/Class 2 outputs, 1U |  |  |  | Power supply subrack
PFP-PX-SF |  | Variant | Power Express Slot Filler, used when a module slot is empty |  |  |  | Blank module
PFP-SPS-SF |  | Variant | Slimline SPS Slot Filler, used when a module slot is empty |  |  |  | Blank module
PFP-PX-A1 |  | Variant | Power Express Alarm Card for PFP-PX-S1 and PFP-PX-S2 |  |  |  | Controller module
PFU-12-C-O-060-01 |  | Variant | Power Extender, Universal Mount, Outdoor, 12 Vdc, Fiber Pass Through |  |  |  | Power extender
PFU-48-C-O-060-01 |  | Variant | Power Extender, Universal Mount, Outdoor, 48 Vdc, Fiber Pass Through |  |  |  | Power extender
PFU-P-C-O-060-01 |  | Variant | PoE Extender (1 Gbps), Universal Mount, Outdoor, 1-Port |  |  |  | PoE extender/Media converter
PFU-P-C-O-060-02 |  | Variant | PoE Extender, 2 Port Universal Mount, Outdoor, 2-Port |  |  |  | PoE unit
PFC-304O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-302L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-304O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S12O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S04O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S12L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Indoor/Outdoor 12AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S12L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S04L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S12O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 12 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
760252854 | CPCE-1 | Variant | Constellation™ Enclosure, secure equipment enclosure providing 5RU of 19 inch rack space as well as 0RU accommodations for Propel and G2 modules. |  | Constellation™ |  | Enclosure
760252855 | CPCB-1 | Variant | Constellation™ Powered Backplane power conditioning component mounts to the CPCE-1, for managing the transition, with power service outlets in 110 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Backplane
760254285 | CPCX-12 | Variant | Constellation™ Power Transmitter Chassis, capable of energizing up to ten enclosures with management module that provides remote access/monitoring/control of the Constellation power delivery system |  | Constellation™ |  | Power source
760254288 | CTX-6 | Variant | Constellation™ Transmitter Card, 600 W, fault managed power delivery card interface between the CPCX-12 and the power delivery cabling. Up to 24 can be loaded into the CPCX-12 |  | Constellation™ |  | Power transmitter card
760254293 | CPT-PP-48C | Variant | Constellation™ Power Transition Panel, with 48 color coded terminal blocks providing a transition point from 20 AWG to 16 AWG cabling, 19 in, 2RU |  | Constellation™ |  | Power transition unit
760254642 | PM500-COVER | Variant | Constellation™ optional blanking cover for unused power supply bays in CPCX-12 |  | Constellation™ |  | Blanking cover
760258034 | CPCR-1 SN | Variant | Constellation Rackmount FMP Receiver with power service outlets in 110 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760258035 | CPCR-1 SI | Variant | Constellation Rackmount FMP Receiver with power service outlets in 230 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760258036 | CPCR-1 DN | Variant | Constellation Rackmount Dual FMP Receiver with power service outlets in 110 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760258037 | CPCR-1 DI | Variant | Constellation Rackmount Dual FMP Receiver with power service outlets in 230 VAC, 48 VDC, and 24 VDC form |  | Constellation™ |  | Power distribution unit
760248943 |  | Variant | Kit, SMB, 1 Fiber Port, 1 Power Port, White | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760248944 |  | Variant | Kit, SMB, 1 Fiber Port, 1 Power Port, Beige | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760248942 |  | Variant | Kit, SMB, 1 Fiber Port, 1 Power Port, Black | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760090266 | SA-SYS-MGR-ENT-UNL | Variant | imVision® iPatch® Software Assurance System Manager Enterprise Unlimited | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760090068 | im-SYS-MGR-ENT-UNL | Variant | imVision® System Manager Enterprise Unlimited | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760111237 | SA-SYS-MGR-ENT-2K | Variant | imVision® iPatch® Software Assurance System Manager Enterprise 2000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760111187 | im-SYS-MGR-ENT-2K | Variant | imVision® System Manager Enterprise 2000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760111203 | im-UP-SYSMGR-2K-10K | Variant | imVision® Upgrade System Manager Enterprise 2000–10000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760111211 | im-UP-SYSMGR-2K-UNL | Variant | imVision® Upgrade System Manager Enterprise 2000–Unlimited | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165530 | im-UP-SYSMGR-1K-10K | Variant | imVision® Upgrade System Manager Enterprise 1000–10000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165654 | SA-SYS-MGR-ENT-5K | Variant | imVision® iPatch® Software Assurance System Manager Enterprise 5000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165076 | im-SYS-MGR-EXT-XML | Variant | imVision® Extended XML | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software |  | Discontinued
760165571 | im-UP-SYSMGR-5K-UNL | Variant | imVision® Upgrade System Manager Enterprise 5000–Unlimited | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165621 | im-SYS-MGR-ENT-1K | Variant | imVision® System Manager Enterprise 1000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165639 | im-SYS-MGR-ENT-5K | Variant | imVision® System Manager Enterprise 5000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760219618 | im-SYS-MGR-ENT-STA | Variant | imVision® System Manager Stand Alone | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760239385 | SA-SYS-MGR-ENT- STA | Variant | imVision® iPatch® Software Assurance System Manager -Stand Alone | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760258086 | VisiP-CNTRL-AR | Variant | VisiPORT™ Controller (Argentina Only) | SYSTIMAX® | VisiPORT™ | VisiPORT | Controller unit
760237877 | imV-CNTRL-X-AR | Variant | imVision Controller X (Argentina Only) | SYSTIMAX® | iPatch® |  | Controller unit
760258087 | VisiP-DSPL-KIT | Variant | VisiPORT™ Controller Display mounting kit | SYSTIMAX® | VisiPORT™ | VisiPORT | Network controller accessory
760164822 | 360-imV-JMPR-CNTRL-10 | Variant | SYSTIMAX 360™ imVision Jumper Controller, 10 pack | SYSTIMAX® | SYSTIMAX 360™ ¦ imVision® |  | Network controller accessory
760175463 | 360-imV-PB-CNTRL-5 | Variant | SYSTIMAX 360™ imVision® Cable Bus, 5 pack | SYSTIMAX® |  |  | Network controller accessory
760236119 | DM12iP-24LC-WB-ULL | Variant of G2-MODULES | G2 ULL Multimode OM5 MPO-12 Distribution Module, 2x12F MPO unpinned to 24F LC Lime Green, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760236121 | DM24iP-24LC-WB-ULL | Variant of G2-MODULES | G2 ULL Multimode OM5 MPO-24 Distribution Module, 1x24F MPO unpinned to 24F LC Lime Green, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760236118 | DM12iP-24LC-LS-ULL | Variant of G2-MODULES | G2 ULL Multimode OM4 MPO-12 Distribution Module, 2x12F MPO unpinned to 24F LC Aqua, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760238085 | DM12iP-24LC-SM-ULL | Variant of G2-MODULES | G2 ULL Singlemode MPO-12 Distribution Module, 2x12F MPO unpinned to 24F LC Blue, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL ¦ TeraSPEED® |  | Fiber module
760242970 | 360DMiP-12LCA-SM | Variant of G2-MODULES | InstaPATCH® 360 TeraSPEED® APC Module, 12 LC fibers (6 duplex ports), Green, iPatch Ready | CommScope® |  |  | Fiber module
760242972 | 360DMiP-24LC-SM | Variant of G2-MODULES | InstaPATCH® 360 TeraSPEED® Standard Module, 24 LC fibers (12 duplex ports), Blue, iPatch Ready | CommScope® |  |  | Fiber module
760242973 | 360DMiP-24LC-WB | Variant of G2-MODULES | InstaPATCH® 360 LazrSPEED® WideBand Module, 24 LC ports, Lime Green, iPatch Ready | CommScope® |  |  | Fiber module
760243043 | DM12iP-12LC-LS-ULL | Variant of G2-MODULES | G2 ULL Multimode OM4 MPO-12 Distribution Module, 1x12F MPO unpinned to 12F LC Aqua, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760242968 | 360DMiP-12LC-SM | Variant of G2-MODULES | InstaPATCH® 360 TeraSPEED® Standard Module, 12 LC fibers (6 duplex ports), Blue, iPatch Ready | CommScope® |  |  | Fiber module
760243044 | DM12iP-12LC-SM-ULL | Variant of G2-MODULES | G2 ULL Singlemode MPO-12 Distribution Module, 1x12F MPO unpinned to 12F LC Blue, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760249049 | G2iP-SP-24LC | Variant of G2-SPLICE-CASSETTES | G2 Splice Cassette, 24LC, intelligent-ready, no pigtails | SYSTIMAX® |  | G2 | Fiber cassette
760246246 | G2ip-SP-12LC | Variant of G2-SPLICE-CASSETTES | G2 Splice Cassette, 12LC without shutters, intelligent-ready, no pigtails | SYSTIMAX® |  | G2 | Fiber cassette
760107524 | 360DP-8MPO | Variant of G2-ADAPTER-PACKS | 360G2 Distribution Adapter Pack, 8 x MPO, method B | CommScope® |  | G2 | Fiber adapter pack
760242979 | 360DPiP-24LC-LS | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360, LazrSPEED® SYSTIMAX 360 Distribution Panel 24 LC, Aqua iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760242980 | 360DPiP-24LC-SM | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360, TeraSPEED® SYSTIMAX 360 Distribution Panel 24 LC, Blue iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760242981 | 360DPiP-24LC-WB | Variant of G2-ADAPTER-PACKS | SYSTIMAX 360 Distribution Adapter Pack 24 LC LazrSpeed® Lime Green iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760169151 | 360G2-iP-32-MPO-SD-KIT-5PK | Variant | SYSTIMAX 360™ iPatch® 32-MPO Sliding Shelf, 5PK imVision Upgrade Kit | SYSTIMAX® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760248969 | 360G2-iP-32-MPO-SD-KIT-1PK | Variant | SYSTIMAX 360™ iPatch® 32-MPO Sliding Shelf, 1PK imVision Upgrade Kit | SYSTIMAX® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760248968 | 360G2-iP-96F-LC-SD-KIT-1PK | Variant | SYSTIMAX 360™ iPatch® 96F-LC, Sliding Shelf 1PK imVision Upgrade Kit | SYSTIMAX® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760252056 | 360G2-iP-LC-SUP-INS-4PK | Variant | 360G2 iPatch LC Support Insert, 4 Pack | CommScope® |  |  | Adapter
760032243 | MODG2-6SC-MM-PT-A | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC OptiSPEED® Multimode Pigtails, Type A | SYSTIMAX® | OptiSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760034082 | MODG2-6SC-LS-PT-B | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC LazrSPEED® 550 Pigtails, Type B | SYSTIMAX® | LazrSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760036457 | MODG2-6SCA-SM-PT-B | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC APC TeraSPEED® Singlemode Pigtails, Type B | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760109322 | 360G2 Cartridge 6-SCA-SM-GR | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC APC no pigtails | CommScope® |  | G2 | Fiber cassette
760109512 | 360G2 Cartridge 6-SC-LS-AQ-PIGTAILS A | Variant of G2-CARTRIDGES | 360G2 Multimode OM4 Fiber Cassette 6 SC with pigtails A | CommScope® |  | G2 | Fiber cassette with pigtails
760109272 | 360G2 Cartridge 12-LC-SM-BL | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 12 LC, no pigtails, iPatch Ready | CommScope® |  | G2 | Fiber cassette
760109470 | 360G2 Cartridge 12-LC-LS-AQ-PIGTAILS | Variant of G2-CARTRIDGES | 360G2 Multimode OM4 Fiber Cassette 12 LC, with pigtails, iPatch Ready | CommScope® |  | G2 | Fiber cassette with pigtails
760109561 | 360G2 Cartridge 6-SC-SM-BL-PIGTAILS B | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC with pigtails B | CommScope® |  | G2 | Fiber cassette with pigtails
760109298 | 360G2 Cartridge 6-SC-LS-AQ | Variant of G2-CARTRIDGES | 360G2 Multimode OM4 Fiber Cassette 6 SC no pigtails | CommScope® |  | G2 | Fiber cassette
760109496 | 360G2 Cartridge 12-LC-SM-BL-PIGTAILS | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 12 LC, with pigtails, iPatch Ready | CommScope® |  | G2 | Fiber cassette with pigtails
760236366 | UD-iP-2U-288F-LC-DM08-ULL-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236367 | UD-iP-2U-288F-LC-DM08-ULL-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution MPO08 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236405 | HD-iP-1U-96F-LC-DM12-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution MPO12 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236369 | UD-iP-2U-288F-LC-DM12-ULL-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution MPO12 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236406 | HD-iP-2U-192F-LC-DM12-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236370 | UD-iP-2U-288F-LC-DM24-ULL-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236371 | UD-iP-2U-288F-LC-DM24-ULL-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution MPO24 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236401 | HD-iP-1U-96F-LC-DM08-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution MPO08 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236410 | HD-iP-2U-192F-LC-DM24-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236365 | UD-iP-2U-288F-LC-DM-TS-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution Module, Tera Speed, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236411 | HD-iP-2U-192F-LC-DM24-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution MPO24 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237336 | HD-iP-4U-384F-LC-DM08-ULL-WB-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237317 | HD-iP-4U-192F-LC-DM-TS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 192F-LC Distribution Module, TeraSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237324 | HD-iP-4U-384F-LC-DM12-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237337 | HD-iP-4U-384F-LC-DM12-ULL-LS-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO12 ULL Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237318 | HD-iP-4U-384F-LC-DM-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237338 | HD-iP-4U-384F-LC-DM12-ULL-WB-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237326 | HD-iP-4U-384F-LC-DM24-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237339 | HD-iP-4U-384F-LC-DM24-ULL-LS-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO24 ULL Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237340 | HD-iP-4U-384F-LC-DM24-ULL-WB-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237361 | UD-iP-4U-576F-LC-DM12-ULL-LS-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO12 ULL Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237351 | UD-iP-4U-576F-LC-DM24-ULL-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO24 ULL Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237321 | HD-iP-4U-384F-LC-DM08-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO08 ULL Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237341 | HD-iP-4U-128-MPO-DP-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 128-MPO Distribution Panel, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237352 | UD-iP-4U-576F-LC-DM24-ULL-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237334 | HD-iP-4U-384F-LC-DM-WB-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237353 | UD-iP-4U-192-MPO-DP-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 192-MPO Distribution Panel, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237346 | UD-iP-4U-576F-LC-DM-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237356 | UD-iP-4U-576F-LC-DM-LS-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237347 | UD-iP-4U-576F-LC-DM08-ULL-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO08 ULL Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237365 | UD-iP-4U-192-MPO-DP-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 192-MPO Distribution Panel, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237357 | UD-iP-4U-576F-LC-DM-TS-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution Module, TeraSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237358 | UD-iP-4U-576F-LC-DM-WB-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237359 | UD-iP-4U-576F-LC-DM08-ULL-LS-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO08 ULL Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760239558 | HD-SP-iP-1U-48F-LC-DP | Variant of HD-PANELS | HD SP iPATCH 1U 48F-LC Distribution Panel | CommScope® | iPatch® ¦ imVision® | HD | Fiber patch panel
760093336 | 360-iP-HD-2U-IP-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 High Density Sliding Fiber Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber patch panel |  | Discontinued
760169144 | 360G2-iP-1U-32-MPO-DP-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 1U 32-MPO Distribution Panel, Sliding Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760168435 | 360G2-iP-1U-96F-LC-DM-LS-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 1U 96F-LC Distribution Module, LazrSPEED, Sliding Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760169177 | 360G2-iP-1U-32-MPO-DP-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 1U 32-MPO Distribution Panel, UHD Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760169185 | 360G2-iP-2U-64-MPO-DP-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 2U 64-MPO Distribution Panel, Sliding Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760169193 | 360G2-iP-2U-96-MPO-DP-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 2U 96-MPO Distribution Panel, UHD Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760183202 | 360-iP-INSTA-LC-4LS-FX | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 Fixed Fiber Panel with InstaPATCH 360 LazrSPEED Modules | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188383 | 360G2-iP-2U-192F-LC-DM-LS-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 2U 192F-LC Distribution Module, LazrSPEED, Sliding Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760188326 | 360G2-iP-1U-96F-LC-DM-TS-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 1U 96F-LC Distribution Module, TeraSPEED, Sliding Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760188409 | 360G2-iP-2U-192F-LC-DM-OS-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 2U 192F-LC Distribution Module, OptiSPEED, Sliding Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188417 | 360G2-iP-2U-288F-LC-DM-LS-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 2U 288F-LC Distribution Module, LazrSPEED, UHD Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188342 | 360G2-iP-1U-96F-LC-DM-LS-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 1U 96F-LC Distribution Module, LazrSPEED, UHD Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188359 | 360G2-iP-1U-96F-LC-DM-TS-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 1U 96F-LC Distribution Module, TeraSPEED, UHD Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188433 | 360G2-iP-2U-288F-LC-DM-OS-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 2U 288F-LC Distribution Module, OptiSPEED, UHD Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760193789 | 360-iP-G2-1U-LC-FX | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 LC Fiber Panel, fixed | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber patch panel
760193797 | 360-iP-G2-1U-LC-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 LC Fiber Panel, sliding | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber patch panel
760217455 | HD-iP-2U-192F-LC-DM-TS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution Module, TeraSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760217471 | HD-iP-2U-64-MPO-DP-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 64-MPO Distribution Panel, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760217414 | HD-iP-1U-96F-LC-DM-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760218404 | HD-iP-1U-48F-LC-DM-TS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 48F-LC Distribution Module, TeraSPEED, Sliding Panel | CommScope® | iPatch® | HD ¦ IPATCH | Fiber patch panel
760217448 | HD-iP-2U-192F-LC-DM-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution Module, LazrSPEED, with Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760102269 | 360-PM-GS3-DM6 | Variant | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® Unshielded Distribution Module Cat6, 6 port, Gray | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® ¦ SYSTIMAX 360™ |  | Module
760117382 | 360-PM-GS3-DM12 | Variant | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® Unshielded Distribution Module Cat6, 12 port, Gray | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® ¦ SYSTIMAX 360™ |  | Module
760151183 | 360-IPR-1100-GS6-DM6 | Variant | SYSTIMAX 360™ GigaSPEED X10D® Unshielded Distribution Module Cat6A, 6 port, Gray | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ |  | Module
760198747 | 360-iP-UP-KIT-E-24 | Variant | SYSTIMAX 360™ iPatch® Upgrade Kit, Evolve, 24 port, 10 pack | SYSTIMAX® | SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760198754 | 360-iP-UP-KIT-E+PMAX-48 | Variant | SYSTIMAX 360™ iPatch® Upgrade Kit, Evolve and PATCHMAX® Panel, 48 port, 5 pack | SYSTIMAX® | SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760237063 | 360-IPR-SMOD-6A-2U-48 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ GigaSHIELD X10D® Shielded Modular Panel, Cat 6A, 2U, 48 port, Silver | SYSTIMAX® |  |  | Copper patch panel
360-MFTP-PANELS |  | Base Product | SYSTIMAX 360™ GigaSPEED X10D® Evolve High Density Shielded Panels | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ |  | RJ45 patch panel
360-DM-PANELS |  | Base Product | SYSTIMAX 360™ Distribution Module Panels | SYSTIMAX® |  |  | RJ45 patch panel
760001677 | PMGS3-3U | Variant of PATCHMAX-PANELS | GigaSPEED XL® PATCHMAX® GS3 Category 6 U/UTP 3U Panel Kit | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® | NA | RJ45 patch panel
760073866 | iP-M4200i-24 | Variant | iPatch® M4200i 24 Port UTP Intelligent Universal Modular Panel without Modules | SYSTIMAX® | iPatch® ¦ imVision® | NA | RJ45 patch panel
760102251 | 360-PM-GS6-2U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® PATCHMAX® GS6 Unshielded Patch Panel, Cat6A, 24 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760117366 | 360-PM-GS3-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® GS3 Category 6 U/UTP Patch Panel, 2U, 48 port, silver | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760117408 | 360-PM-KIT-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ PATCHMAX® Panel Kit, 2U, 48 port | SYSTIMAX® | GigaSPEED X10D® | NA | RJ45 patch panel
760128207 | 360-PM-GS6-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® PATCHMAX® GS6 Unshielded Patch Panel, Cat6A, 48 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760150144 | 360-IPR-MFTP-E-HD6B-1U-24 | Variant of 360-MFTP-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Evolve High Density Shielded Modular Panel, 24 port | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760151746 | 360-IPR-MFTPA-E-HD6B-2U-48 | Variant of 360-MFTP-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Shielded Angled Modular Panel, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760151753 | 360-IPR-1100A-E-GS3-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Angled Panel Cat6, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760151779 | 360-IPR-1100A-E-GS6-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Unshielded Angled Panel Cat6A, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760151498 | 360-IPR-MFTP-E-HD6B-2U-48 | Variant of 360-MFTP-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Shielded Modular Panel, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760152793 | 360-A-E-KIT-2U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Angled Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760152561 | 360-IPR-1100-E-GS3-1U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Panel Cat6, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760152785 | 360-A-E-KIT-1U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Angled Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760155739 | 360-E-KIT-1U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760155747 | 360-E-KIT-2U | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® and GigaSPEED XL® Unshielded Panel Kit, 1U, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201186 | 360-iP-MFTP-E-HD6B-2U-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® Evolve High Density F/UTP Modular Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202564 | 360-iP-MFTPA-E-HD6B-1U-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® Evolve High Density F/UTP Angled Modular Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201236 | 360-iP-PMAX-GS6-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® PATCHMAX GS6 U/UTP Patch Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202580 | 360-iP-MFTPA-E-HD6B-2U-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® Evolve High Density F/UTP Angled Modular Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201244 | 360-iP-PMAX-GS3-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® PATCHMAX® GS3 Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202598 | 360-iP-1100A-E-1U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100 Angled Evolve Panel, 24 port without modules | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201269 | 360-iP-PMAX-GS6-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® PATCHMAX GS6 U/UTP Patch Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202531 | 360-iP-1100A-E-GS3-1U-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS3 Evolve U/UTP Angled Patch Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202549 | 360-iP-1100A-E-GS3-2U-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS3 Evolve U/UTP Angled Patch Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201111 | 360-iP-1100-E-GS3-2U-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS3 Evolve U/UTP Patch Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202622 | 360-iP-MFTPA-E-2U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® FTP Angled Evolve Panel, 48 port without jacks | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201129 | 360-iP-1100-E-GS6-2U-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS6 Evolve U/UTP Patch Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201137 | 360-iP-1100-E-GS3-1U-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS3 Evolve U/UTP Patch Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201178 | 360-iP-MFTP-E-HD6B-1U-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® Evolve High Density F/UTP Modular Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760205278 | PM-PS-48 | Variant of PATCHMAX-PANELS | PatchMAX PowerSUM 48 Port Panel | SYSTIMAX® | PowerSUM ¦ iPatch® | NA | RJ45 patch panel
760249308 | CPP-IP-6A-STP-1U-24 | Variant of 360-IP-PANELS | CommScope® imVision® STP Cat 6A Modular Panel, 24 port | CommScope® | imVision® | NA | RJ45 patch panel
760249310 | CPPA-IP-6A-STP-1U-24 | Variant of 360-IP-PANELS | CommScope® imVision® STP Cat 6A Modular Angled Panel, 24 port | CommScope® | imVision® | NA | RJ45 patch panel
760259244 | 360-IP-SMOD-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Intelligent Shielded Modular Panel, Empty, 1U, 24 port, Silver | SYSTIMAX® | imVision® |  | Copper patch panel
760251248 | 360-IPR-SMOD-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Shielded Modular Panel, Empty, 1U, 24 port, Silver | SYSTIMAX® |  |  | Copper patch panel
760251247 | 360-IPR-SMOD-2U-48 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Shielded Modular Panel, Empty, 2U, 48 port, Silver | SYSTIMAX® |  |  | Copper patch panel
760251246 | 360-IPR-SMOD-A-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Shielded Angled Modular Panel, Empty, 1U, 24 port, Silver | SYSTIMAX® |  |  | Copper patch panel
CO11152 |  | Base Product | CommScope CAT 6, F/UTP, Outdoor Rated Patch Cord | CommScope® |  | CO | Twisted pair patch cord
760111229 | im-UP-SYSMGR-10K-UNL | Variant | imVision® Upgrade System Manager Enterprise 10000–Unlimited | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760111245 | SA-SYS-MGR-ENT-10K | Variant | imVision® iPatch® Software Assurance System Manager Enterprise 10000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760111195 | im-SYS-MGR-ENT-10K | Variant | imVision® System Manager Enterprise 10000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165514 | im-UP-SYSMGR-1K-2K | Variant | imVision® Upgrade System Manager Enterprise 1000–2000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165522 | im-UP-SYSMGR-1K-5K | Variant | imVision® Upgrade System Manager Enterprise 1000–5000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165647 | SA-SYS-MGR-ENT-1K | Variant | imVision® iPatch® Software Assurance System Manager Enterprise 1000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165548 | im-UP-SYSMGR-1K-UNL | Variant | imVision® Upgrade System Manager Enterprise 1000–Unlimited | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165555 | im-UP-SYSMGR-2K-5K | Variant | imVision® Upgrade System Manager Enterprise 2000–5000 | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller software
760165563 | im-UP-SYSMGR-5K-10K | Variant | imVision® Upgrade System Manager Enterprise 5000–10000 | SYSTIMAX® | imVision® |  | Network controller software
760258085 | VisiP-CNTRL | Variant | VisiPORT™ Controller | SYSTIMAX® | VisiPORT™ | VisiPORT | Controller unit
760161380 | 360-imV-CNTRLR | Variant | SYSTIMAX 360™ imVision® Controller | SYSTIMAX® | iPatch® ¦ imVision® |  | Controller unit |  | Discontinued
760230102 | 360-imV-CNTRLR-AR | Variant | SYSTIMAX 360™ imVision® Controller | SYSTIMAX® | iPatch® ¦ imVision® |  | Controller unit |  | Discontinued
760237876 | imV-CNTRL-X | Variant | imVision Controller X | SYSTIMAX® | iPatch® |  | Controller unit
760237878 | imV-CNTRL-X-DIS | Variant | imVision Controller Display (Only) | SYSTIMAX® | iPatch® ¦ imVision® |  | Controller unit
760237879 | imV-CNTRL-RK-XT | Variant | imVision Controller X Rack Extender Kit | SYSTIMAX® | iPatch® ¦ imVision® |  | Controller unit
760031716 | iP-POWER-SUPPLY | Variant | iPatch® Power Supply 12VDC 3050 mm Power Cord | SYSTIMAX® | iPatch® ¦ imVision® |  | Network controller accessory |  | Discontinued
760140285 | 360-iPm-PWRJMPR-NM-5 | Variant | SYSTIMAX 360™ iPatch Power Jumper Net Manager, 5 pack | SYSTIMAX® | SYSTIMAX 360™ |  | Network controller accessory |  | Discontinued
760164798 | 360-iPm-JMPR-G2-FX-10 | Variant | SYSTIMAX 360™ iPatch Jumper G2 Fixed Shelf, 10 pack | SYSTIMAX® | SYSTIMAX 360™ |  | Network controller accessory
760164806 | 360-iPm-JMPR-G2-SD-10 | Variant | SYSTIMAX 360™ iPatch Jumper G2 Sliding Shelf, 10 pack | SYSTIMAX® | SYSTIMAX 360™ |  | Network controller accessory
760164814 | 360-iPm-JMPR-E-PMAX-10 | Variant | SYSTIMAX 360™ iPatch Jumper Evolve/PMAX, 10 pack | SYSTIMAX® | SYSTIMAX 360™ |  | Network controller accessory
760255005 | P-016-HY-8G1-F30YL/8X16AWG/CTX | Variant | Constellation® Plenum Hybrid Fault Managed Power Cable, 16 Fiber Loose Tube, 8 Conductor 16 AWG Twisted Pairs | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
760261708 | N-016-HY-8G1-F54BK/8X16AWG/CTX | Variant | Constellation® I/O Riser Cable, 4 pair 16 AWG, 16 OS2 SM fibers | CommScope® | Constellation™ |  | Hybrid cable ¦ copper and fiber
UGGQXQXY8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to MPO8 (Pinned) , 2 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 2-pair
UGGQXUCZ8 |  | Base Product | Hybrid Ultra Low Loss (ULL) Singlemode G.657.A2 MPO8 (Pinned) to Unconnectorized , 4 Pair 16AWG Constellation Trunk Cable Assembly, 8-Fiber, Plenum | CommScope® | SYSTIMAX ULL |  | Hybrid cable assembly ¦ 4-pair
760249095 |  | Variant | Kit, SMB, 2 Fiber Ports, 2 Power Ports, Beige | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760249094 |  | Variant | Kit, SMB, 2 Fiber Ports, 2 Power Ports, White | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760249093 |  | Variant | Kit, SMB, 2 Fiber Ports, 2 Power Ports, Black | CommScope® |  | SL Series ¦ SLX Series | Surface mount module
760250853 | PFB-TB-LGY | Variant | FiberREACH™ Transition box for indoor to outdoor powered fiber cables, plenum rated | CommScope® | FiberREACH™ |  | Transition box
760219345 | imV-imP | Variant | imVision® imPower™ | SYSTIMAX® | imPower™ ¦ imVision® |  | Network controller accessory |  | Discontinued
760219501 | imV-imP-JMP | Variant | imVision® imPower™ Jumper Cables | SYSTIMAX® | imPower™ ¦ imVision® |  | Network controller accessory |  | Discontinued
760222448 | imV-Pwr-Supply | Variant | imVision® Power Supply 12VDC 3050 mm Power Cord | SYSTIMAX® | imVision® |  | Network controller accessory
PFP-PX-8M |  | Variant | Power Express module, connects up to 8 Powered Fiber Cables |  |  |  | Power supply module
PFP-SPS-1600M |  | Variant | Slimline SPS DC Rectifier Module, 1600 Watts |  |  |  | Power supply module
PFP-SPS-C1 |  | Variant | Slimline SPS DC Rectifier controller, factory set to 57VDC |  |  |  | Controller module
PFP-SPS-S1 |  | Variant | Slimline SPS DC Rectifier Shelf, 120/240VAC to 57VDC, accomodates up to 3 rectifier modules, 1U |  |  |  | Power supply subrack
PFP-PX-S2 |  | Variant | Power Express Class 2 shelf, accomodates up to 2 modules of 8 SELV/Class 2 outputs, 1U | CommScope® |  |  | Power supply subrack
PFU-P-C-O-090-02 |  | Variant | PoE Extender, 2 Port Universal Mount, Outdoor, 90 W |  |  |  | PoE unit
PFC-302L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-302O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-304L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-302O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 2 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-304L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OM3, 4 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02O12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Outdoor, 12AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S04L12 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Indoor/Outdoor, 12AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S04O16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 4 Fibers, Outdoor, 16AWG Conductor, meter, feet |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
PFC-S02L16 |  | Variant | FiberREACH™ Powered Fiber Cable, OS2, 2 Fibers, Indoor/Outdoor, 16AWG Conductor, meter, feet. |  | FiberREACH™ |  | Hybrid cable ¦ fiber and power
760254287 | CPM-3K | Variant | Constellation™ Transmitter Power Module, 3 kW module that provides the CPCX-12 with up to 12 kW of capacity |  | Constellation™ |  | Power supply
760254290 | CABLE-PWR-SAFD-L620P | Variant | Constellation™ Power Supply Cord, AC, Saf-D-Grid® to L620P power cable |  | Constellation™ |  | Power cable assembly
760254294 | CTX-CBL-10 | Variant | Constellation™ Power Interconnection Lead, 10 feet, connecting CTX-6 and the Power Transition Panel |  | Constellation™ |  | Power cable
760102277 | 360-PM-GS6-DM6 | Variant | SYSTIMAX 360™ GigaSPEED X10D® PATCHMAX® Unshielded Distribution Module Cat6A, 6 port, Gray | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ |  | Module
760151167 | 360-IPR-1100-GS3-DM6 | Variant | SYSTIMAX 360™ GigaSPEED XL® Unshielded Distribution Module Cat6, 6 port, Gray | SYSTIMAX® | GigaSPEED XL® |  | Module
760198762 | 360-iP-UP-KIT-PMAX-2U-24 | Variant | SYSTIMAX 360™ iPatch® Upgrade Kit, PATCHMAX® Panel, 2U, 24 port, 10 pack | SYSTIMAX® | SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760237062 | 360-IPR-SMOD-6A-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ GigaSHIELD X10D® Shielded Modular Panel, Cat 6A, 1U, 24 port, Silver | SYSTIMAX® |  |  | Copper patch panel
760237064 | 360-IPR-SMOD-A-6A-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ GigaSHIELD X10D® Shielded Angled Modular Panel, Cat 6A, 1U, 24 port, Silver | SYSTIMAX® |  |  | Copper patch panel
760237065 | 360-IPR-SMOD-A-6A-2U-48 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ GigaSHIELD X10D® Shielded Angled Modular Panel, Cat 6A, 2U, 48 port, Silver | SYSTIMAX® |  |  | Copper patch panel
360-IP-PANELS |  | Base Product | SYSTIMAX 360™ iPatch® Series Panels | SYSTIMAX® | iPatch® |  | RJ45 patch panel
PATCHMAX-PANELS |  | Base Product | SYSTIMAX PATCHMAX® Panels | SYSTIMAX® |  |  | RJ45 patch panel
760001669 | PMGS3-2U | Variant of PATCHMAX-PANELS | GigaSPEED XL® PATCHMAX® GS3 Category 6 U/UTP 2U Panel Kit | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® | NA | RJ45 patch panel
760062356 | PM-GS3-24 | Variant of PATCHMAX-PANELS | GigaSPEED XL® PATCHMAX® GS3 Category 6 U/UTP Copper Patch Panel, 24 Port | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® | NA | RJ45 patch panel
760062364 | PM-GS3-48 | Variant of PATCHMAX-PANELS | GigaSPEED XL® PATCHMAX® GS3 Category 6 U/UTP Copper Patch Panel, 48 Port | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® | NA | RJ45 patch panel
760102244 | 360-PM-GS3-2U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® PATCHMAX® GS3 Unshielded Panel Cat 6, 2U, 24 port, Silver | SYSTIMAX® | GigaSPEED XL® ¦ PATCHMAX® | NA | RJ45 patch panel
760108993 | 360-PM-KIT-2U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ PATCHMAX® Panel Kit, 2U, 24 port | SYSTIMAX® | GigaSPEED X10D® | NA | RJ45 patch panel
760151290 | 360-IPR-MFTPA-E-HD6B-1U-24 | Variant of 360-MFTP-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Shielded Angled Modular Panel, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760151308 | 360-IPR-1100A-E-GS3-1U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Angled Panel Cat6, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760151324 | 360-IPR-1100A-E-GS6-1U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Unshielded Angled Panel Cat6A, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760152579 | 360-IPR-1100-E-GS3-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED XL® Unshielded Panel Cat6, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED XL® | NA | RJ45 patch panel
760152587 | 360-IPR-1100-E-GS6-1U-24 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Unshielded Panel Cat6A, 1U, 24 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760152595 | 360-IPR-1100-E-GS6-2U-48 | Variant of 360-DM-PANELS | SYSTIMAX 360™ GigaSPEED X10D® Unshielded Panel Cat6A, 2U, 48 port, Silver | SYSTIMAX® | GigaSPEED X10D® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201194 | 360-iP-MFTP-E-1U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® FTP Evolve Modular Panel, 24 port without jacks | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201202 | 360-iP-MFTP-E-2U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® FTP Evolve Modular Panel, 48 port without jacks | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201210 | 360-iP-PMAX-GS3-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® PATCHMAX® GS3 Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202572 | 360-iP-1100A-E-GS6-2U-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS6 Evolve U/UTP Angled Patch Panel, 48 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202606 | 360-iP-1100A-E-2U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100 Angled Evolve Panel, 48 port without modules | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202614 | 360-iP-MFTPA-E-1U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® FTP Angled Evolve Panel, 24 port without jacks | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202556 | 360-iP-1100A-E-GS6-1U-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS6 Evolve U/UTP Angled Patch Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202630 | 360-iP-UP-KIT-AE-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® Upgrade Kit for Evolve Angled Panel, 24 Port, 10 pack | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760202648 | 360-iP-UP-KIT-AE-48 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® Upgrade Kit for Evolve Angled Panel, 48 Port, 5 pack | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201145 | 360-iP-1100-E-GS6-1U-24 | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100GS6 Evolve U/UTP Patch Panel, 24 port | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760201152 | 360-iP-1100-E-1U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100 Evolve Panel, 24 port without modules | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760249050 | G2iP-SP-24LCG-PT | Variant of G2-SPLICE-CASSETTES | G2 Splice Cassette, 24LC/UPC intelligent-ready, without shutters, OS2, with pigtails | SYSTIMAX® |  | G2 | Fiber cassette with pigtails
G2-ADAPTER-PACKS |  | Base Product | G2 Adapter Packs fit into any AGL, G2 EPX, HD or UD panels offering density from 96f LC to 144f LC (UD) per RU adding flexibility to any configuration | CommScope® |  | G2 | Fiber adapter pack
760107490 | 360DP-2MPO | Variant of G2-ADAPTER-PACKS | 360G2 Distribution Adapter Pack, 2 x MPO, method B | CommScope® |  | G2 | Fiber adapter pack
760107508 | 360DP-4MPO | Variant of G2-ADAPTER-PACKS | 360G2 Distribution Adapter Pack, 4 x MPO, method B | CommScope® |  | G2 | Fiber adapter pack
760107516 | 360DP-6MPO | Variant of G2-ADAPTER-PACKS | 360G2 Distribution Adapter Pack, 6 x MPO, method B | CommScope® |  | G2 | Fiber adapter pack
760107482 | 360DP-BLANK | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360 Distribution Adapter Pack, 360DP-BLANK | SYSTIMAX® | InstaPATCH® 360 ¦ LazrSPEED® |  | Fiber adapter pack ¦ blank |  | Discontinued
760109462 | 360G2-MOD-BLANK-4PK | Variant of G2-ADAPTER-PACKS | 360G2 Mod Panel Blank Adapter Pack, 4 Panels | CommScope® |  |  | Fiber adapter pack ¦ blank
IPATCH-PANELS |  | Base Product | HD & UD iPATCH Distribution Panel |  | SYSTIMAX 360™ ¦ iPatch® ¦ imVision® | HD ¦ IPATCH ¦ UD | Fiber patch panel ¦ Fiber patch/splice panel
760236368 | UD-iP-2U-288F-LC-DM12-ULL-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236407 | HD-iP-2U-192F-LC-DM12-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution MPO12 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236400 | HD-iP-1U-96F-LC-DM08-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236408 | HD-iP-1U-96F-LC-DM24-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236362 | UD-iP-2U-96-MPO-DP-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 96-MPO Distribution Panel, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236402 | HD-iP-2U-192F-LC-DM08-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236409 | HD-iP-1U-96F-LC-DM24-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution MPO24 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236403 | HD-iP-2U-192F-LC-DM08-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 192F-LC Distribution MPO08 ULL Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760236364 | UD-iP-2U-288F-LC-DM-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 2U 288F-LC Distribution Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch/splice panel
760236404 | HD-iP-1U-96F-LC-DM12-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237322 | HD-iP-4U-384F-LC-DM08-ULL-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237316 | HD-iP-4U-192F-LC-DM-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 192F-LC Distribution Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237323 | HD-iP-4U-384F-LC-DM12-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO12 ULL Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237348 | UD-iP-4U-576F-LC-DM08-ULL-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237349 | UD-iP-4U-576F-LC-DM12-ULL-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO12 ULL Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237325 | HD-iP-4U-384F-LC-DM24-ULL-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO24 ULL Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237319 | HD-iP-4U-384F-LC-DM-TS-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution Module, TeraSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237360 | UD-iP-4U-576F-LC-DM08-ULL-WB-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO08 ULL Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237350 | UD-iP-4U-576F-LC-DM12-ULL-WB-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237320 | HD-iP-4U-384F-LC-DM-WB-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution Module, LazrSPEED WideBand, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237327 | HD-iP-4U-128-MPO-DP-SD | Variant of IPATCH-PANELS | HD iPATCH 4U 128-MPO Distribution Panel, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237332 | HD-iP-4U-384F-LC-DM-LS-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237362 | UD-iP-4U-576F-LC-DM12-ULL-WB-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO12 ULL Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237333 | HD-iP-4U-384F-LC-DM-TS-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution Module, TeraSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237344 | UD-iP-4U-576F-LC-DM-LS-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution Module, LazrSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237363 | UD-iP-4U-576F-LC-DM24-ULL-LS-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO24 ULL Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237345 | UD-iP-4U-576F-LC-DM-TS-SD | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution Module, TeraSPEED, Sliding Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760237335 | HD-iP-4U-384F-LC-DM08-ULL-LS-FX | Variant of IPATCH-PANELS | HD iPATCH 4U 384F-LC Distribution MPO08 ULL Module, LazrSPEED, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760237364 | UD-iP-4U-576F-LC-DM24-ULL-WB-FX | Variant of IPATCH-PANELS | UD iPATCH 4U 576F-LC Distribution MPO24 ULL Module, LazrSPEED WideBand, Fixed Shelf | CommScope® | iPatch® ¦ imVision® | IPATCH ¦ UD | Fiber patch panel
760239559 | HD-SP-iP-1U-96F-LC-DP | Variant of HD-PANELS | HD SP iPATCH 1U 96F-LC Distribution Panel | CommScope® | iPatch® ¦ imVision® | HD | Fiber patch panel
760168419 | 360G2-iP-1U-96F-LC-DP-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 1U 96F-LC Distribution Panel, Sliding Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760188367 | 360G2-iP-1U-96F-LC-DM-OS-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 1U 96F-LC Distribution Module, OptiSPEED, UHD Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188375 | 360G2-iP-2U-192F-LC-DP-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 2U 192F-LC Distribution Panel, Sliding Panel | CommScope® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760188391 | 360G2-iP-2U-192F-LC-DM-TS-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 2U 192F-LC Distribution Module, TeraSPEED, Sliding Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760188334 | 360G2-iP-1U-96F-LC-DM-OS-SD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 1U 96F-LC Distribution Module, OptiSPEED, Sliding Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760188425 | 360G2-iP-2U-288F-LC-DM-TS-UHD | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® InstaPATCH 2U 288F-LC Distribution Module, TeraSPEED, UHD Panel | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel |  | Discontinued
760193805 | 360-iP-INSTA-LC-4LS | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 Fiber Panel with InstaPATCH 360 LazrSPEED Modules | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760193813 | 360-iP-INSTA-LC-4TS | Variant of IPATCH-PANELS | SYSTIMAX 360™ iPatch® G2 Fiber Panel with InstaPATCH 360 TeraSPEED Modules | CommScope® | SYSTIMAX 360™ ¦ iPatch® | IPATCH | Fiber splice panel
760217463 | HD-iP-1U-32-MPO-DP-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 32-MPO Distribution Panel, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760218396 | HD-iP-1U-48F-LC-DM-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 48F-LC Distribution Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® | HD ¦ IPATCH | Fiber patch panel
760217422 | HD-iP-1U-96F-LC-DM-TS-SD | Variant of IPATCH-PANELS | HD iPATCH 1U 96F-LC Distribution Module, TeraSPEED, Sliding Panel | CommScope® | iPatch® ¦ imVision® | HD ¦ IPATCH | Fiber patch panel
760218420 | HD-iP-2U-96F-LC-DM-LS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 96F-LC Distribution Module, LazrSPEED, Sliding Panel | CommScope® | iPatch® | HD ¦ IPATCH | Fiber patch panel
760218438 | HD-iP-2U-96F-LC-DM-TS-SD | Variant of IPATCH-PANELS | HD iPATCH 2U 96F-LC Distribution Module, TeraSPEED, Sliding Panel | CommScope® | iPatch® | HD ¦ IPATCH | Fiber patch panel
760236120 | DM24iP-24LC-LS-ULL | Variant of G2-MODULES | G2 ULL Multimode OM4 MPO-24 Distribution Module, 1x24F MPO unpinned to 24F LC Aqua, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760236116 | DM08iP-24LC-LS-ULL | Variant of G2-MODULES | G2 ULL Multimode OM4 MPO-8 Distribution Module, 3x8F MPO unpinned to 24F LC Aqua, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760236117 | DM08iP-24LC-WB-ULL | Variant of G2-MODULES | G2 ULL Multimode OM5 MPO-8 Distribution Module, 3x8F MPO unpinned to 24F LC Lime Green , Method B Enhanced, iPatch Ready | CommScope® | LazrSPEED® |  | Fiber module
760242969 | 360DMiP-12LC-WB | Variant of G2-MODULES | InstaPATCH® 360 Multimode OM5 WideBand Module, 12 LC fibers (6 duplex ports), Lime Green, iPatch Ready | CommScope® |  |  | Fiber module
760242971 | 360DMiP-24LC-LS | Variant of G2-MODULES | InstaPATCH® 360 LazrSPEED® Standard Module, 24 LC fibers (12 duplex ports), Aqua, iPatch Ready | CommScope® |  |  | Fiber module
760242974 | 360DMiP-24LCA-SM | Variant of G2-MODULES | G2 Singlemode APC Module, 24 LC fibers (12 duplex ports) ,iPatch Ready | CommScope® |  |  | Fiber module
760242967 | 360DMiP-12LC-LS | Variant of G2-MODULES | InstaPATCH® 360 LazrSPEED® Standard Module, 12 LC fibers (6 duplex ports), Aqua, iPatch Ready | CommScope® |  |  | Fiber module
760243045 | DM12iP-12LC-WB-ULL | Variant of G2-MODULES | G2 ULL Multimode OM5 MPO-12 Distribution Module, 1x12F MPO unpinned to 12F LC Lime Green, Method B Enhanced, iPatch Ready | CommScope® | SYSTIMAX ULL |  | Fiber module
760242982 | 360DPiP-24LCA-SM | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360, TeraSPEED® SYSTIMAX 360 Distribution Panel 24 LC APC, Green iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760242975 | 360DPiP-12LC-LS | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360, LazrSPEED® SYSTIMAX 360 Distribution Panel 12 LC Aqua iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760242976 | 360DPiP-12LC-SM | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360, TeraSPEED® SYSTIMAX 360 Distribution Panel 12 LC Blue iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760242977 | 360DPiP-12LC-WB | Variant of G2-ADAPTER-PACKS | SYSTIMAX 360 Distribution Adapter Pack 12 LC LazrSpeed® Lime Green iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760242978 | 360DPiP-12LCA-SM | Variant of G2-ADAPTER-PACKS | InstaPATCH® 360, TeraSPEED® SYSTIMAX 360 Distribution Panel 12 LC APC, Green iPatch Ready | SYSTIMAX® |  |  | Fiber adapter pack
760105148 | 360-iP-UP-KIT-G2-LC | Variant | SYSTIMAX 360™ iPatch® G2-1U-MOD LC 5PK imVision Upgrade Kit | SYSTIMAX® | SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
760168443 | 360G2-iP-96F-LC-SD-KIT-5PK | Variant | SYSTIMAX 360™ iPatch® 96F-LC, Sliding Shelf 5PK imVision Upgrade Kit | SYSTIMAX® | LazrSPEED® ¦ SYSTIMAX 360™ ¦ iPatch® |  | Upgrade kit
G2-CARTRIDGES |  | Base Product | 360G2 Cartridge for use with HD Patch/Splice panels | CommScope® |  | G2 | Fiber cassette
760027748 | MODG2-12LC-LS-PT | Variant of G2-CARTRIDGES | G2 Modular Cassette with 12 LC LazrSPEED® 550 Pigtails | SYSTIMAX® | LazrSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760031039 | MODG2-12LC-SM-PT | Variant of G2-CARTRIDGES | G2 Modular Cassette with 12 LC TeraSPEED® Singlemode Pigtails | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760032227 | MODG2-6SC-LS-PT-A | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC LazrSPEED® 550 Pigtails, Type A | SYSTIMAX® | LazrSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760032250 | MODG2-6ST-MM-PT-A | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 ST OptiSPEED® Multimode Pigtails, Type A | SYSTIMAX® | OptiSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760032268 | MODG2-6SC-SM-PT-A | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC TeraSPEED® Singlemode Pigtails, Type A | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760032276 | MODG2-6ST-SM-PT-A | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 ST TeraSPEED® Singlemode Pigtails, Type A | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760034066 | MODG2-6ST-MM-PT-B | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 ST OptiSPEED® Multimode Pigtails, Type B | SYSTIMAX® | OptiSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760034074 | MODG2-6ST-SM-PT-B | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 ST TeraSPEED® Singlemode Pigtails, Type B | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760034090 | MODG2-6SC-MM-PT-B | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC OptiSPEED® Multimode Pigtails, Type B | SYSTIMAX® | OptiSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760034108 | MODG2-6SC-SM-PT-B | Variant of G2-CARTRIDGES | G2 Modular Cassette with 6 SC TeraSPEED® Singlemode Pigtails, Type B | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760065888 | MODG2-12LCA-SM-PT | Variant of G2-CARTRIDGES | G2 Modular Cassette with 12 LC APC TeraSPEED® Singlemode Pigtails | SYSTIMAX® | TeraSPEED® |  | Fiber cassette with pigtails |  | Discontinued
760109314 | 360G2 Cartridge 6-SC-SM-BL | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC no pigtails | CommScope® |  | G2 | Fiber cassette
760109520 | 360G2 Cartridge 6-SC-LS-AQ-PIGTAILS B | Variant of G2-CARTRIDGES | 360G2 Multimode OM4 Fiber Cassette 6 SC with pigtails B | CommScope® |  | G2 | Fiber cassette with pigtails
760109256 | 360G2 Cartridge 12-LC-LS-AQ | Variant of G2-CARTRIDGES | 360G2 Multimode OM4 Fiber Cassette 12 LC no pigtails, iPatch Ready | CommScope® |  | G2 | Fiber cassette
760109553 | 360G2 Cartridge 6-SC-SM-BL-PIGTAILS A | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC with pigtails A | CommScope® |  | G2 | Fiber cassette with pigtails
760109280 | 360G2 Cartridge 12-LCA-SM-GR | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 12 LC APC, no pigtails, iPatch Ready | CommScope® |  | G2 | Fiber cassette
760109579 | 360G2 Cartridge 6-SCA-SM-GR-PIGTAILS A | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC APC with pigtails A | CommScope® |  | G2 | Fiber cassette with pigtails
760109587 | 360G2 Cartridge 6-SCA-SM-GR-PIGTAILS B | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC APC with pigtails B | CommScope® |  | G2 | Fiber cassette with pigtails
760109504 | 360G2 Cartridge 12-LCA-SM-GR-PIGTAILS | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 12 LC APC, with pigtails, iPatch Ready | CommScope® |  | G2 | Fiber cassette with pigtails
760109595 | 360G2 Cartridge 4-SC/2-SCA-SM-PT | Variant of G2-CARTRIDGES | 360G2 Singlemode Fiber Cassette 6 SC, with pigtails | CommScope® |  | G2 | Fiber cassette with pigtails
760201160 | 360-iP-1100-E-2U-BLANK | Variant of 360-IP-PANELS | SYSTIMAX 360™ iPatch® 1100 Evolve Panel, 48 port without modules | SYSTIMAX® | iPatch® ¦ SYSTIMAX 360™ | NA | RJ45 patch panel
760205260 | PM-PS-24 | Variant of PATCHMAX-PANELS | PatchMAX PowerSUM 24 Port Panel | SYSTIMAX® | PowerSUM ¦ iPatch® | NA | RJ45 patch panel
760239707 | 360-1100-E-1U | Variant of 360-DM-PANELS | SYSTIMAX 360™ 1100 Evolve 1U Empty Panel | SYSTIMAX® |  | NA | Patch panel
360-MOD-PANELS |  | Base Product | SYSTIMAX 360™ Discrete Distribution Module SL-Series Panels | SYSTIMAX® |  |  | RJ45 patch panel
760259242 | 360-IP-SMOD-6A-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Intelligent Shielded Modular Panel, Cat 6A, 1U, 24 port, Silver | SYSTIMAX® | imVision® |  | Copper patch panel
760259243 | 360-IP-SMOD-A-6A-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Intelligent Shielded Angled Modular Panel, Cat 6A, 1U, 24 port, Silver | SYSTIMAX® | imVision® |  | Copper patch panel
760259245 | 360-IP-SMOD-A-1U-24 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Intelligent Shielded Angled Modular Panel, Empty, 1U, 24 port, Silver | SYSTIMAX® | imVision® |  | Copper patch panel
760251245 | 360-IPR-SMOD-A-2U-48 | Variant of 360-MOD-PANELS | SYSTIMAX 360™ Shielded Angled Modular Panel, Empty, 2U, 48 port, Silver | SYSTIMAX® |  |  | Copper patch panel